## CinnaGen Equipment
Equipment | Room Num | Department | Supervisor | Room Abrv | Eq Type | PM user | PM sign | PM interval | PM due date | CA user | CA sign | CA interval | CA due date | VA user | IQ date | OQ date | PQ Sign date | PQ sign | PQ interval | PQ due date | Description | Brand | Code | Cal type | Heads up
EC-STF-04 | EC-510 | E.Coli | FaNo | Buffer Preparation | STF | SH | 2026-05-12 | 12 | 2027-05-12 | OSH | 2025-08-23 | 12 | 2027-08-19 | MD | 2016-03-15 | 2016-03-15 | 2025-08-12 | 2025-08-12 |  |  | Mobile sterile filter | 10 valve Biozeen |  |  | Different name STF
EC-BPP-01 | EC-510 | E.Coli | FaNo | Buffer Preparation | BPP | AS | 2025-06-02 | 12 | 2027-06-06 | OSH | 2025-06-02 | 12 | 2027-05-24 | SS | 2019-05-07 | 2019-06-24 | 2025-07-07 | 2025-07-07 | 12 | 2027-07-04 | 400L Fixed Vessel | AROKO
EC-BPP-02 | EC-510 | E.Coli | FaNo | Buffer Preparation | BPP | AS | 2025-06-02 | 12 | 2027-06-06 | OSH | 2025-06-02 | 12 | 2027-05-24 | SS | 2019-05-07 | 2019-06-26 | 2026-04-29 | 2026-04-29 | 12 | 2027-04-29 | 400L Fixed Vessel | AROKO
EC-STF-03 | EC-510 | E.Coli | FaNo | Buffer Preparation | STF | SH | 2026-05-12 | 12 | 2027-05-12 | MT | 2025-08-20 | 12 | 2027-08-11 | MHD | 2016-03-15 | 2016-03-15 | 2024-12-21 | 2024-12-21 |  |  | Filter unit manual | 10 valve Biozeen
EC-STF-05 | EC-510 | E.Coli | FaNo | Buffer Preparation | STF | SH | 2026-05-12 | 12 | 2027-05-12 | OSH | 2025-06-02 | 12 | 2027-05-26 | MD | 2016-03-15 | 2016-03-15 | 2025-08-12 | 2025-08-12 |  |  | Filter unit manual | 10 valve Biozeen
EC-STF-05 | EC-510 | E.Coli | FaNo | Buffer Preparation | STF |  |  |  |  | MA | 2026-04-21 | 12 | 2027-04-21 | [7 empty] | Filter unit manual | 10 valve Biozeen
EC-STF-05 | EC-510 | E.Coli | FaNo | Buffer Preparation | STF |  |  |  |  | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | Filter unit manual | 10 valve Biozeen
EC-BPP-04 | EC-510 | E.Coli | FaNo | Buffer Preparation | STF | AS | 2025-06-02 | 12 | 2027-06-06 | OSH | 2025-06-02 | 12 | 2027-05-24 | SS | 2019-05-06 | 2019-06-22 | 2025-07-21 | 2025-07-21 | 12 | 2027-07-22 | 300L Fixed Vessel | AROKO
EC-PUM-03 | EC-516 | E.Coli | AlMo | USP2 | PUM | SH | 2026-04-12 | 6 | 2026-10-12 | [11 empty] | Pump | Watson marlow | 620S
EC-BPP-03 | EC-510 | E.Coli | FaNo | Buffer Preparation | BPP | AS | 2025-06-02 | 12 | 2027-06-06 | MSH | 2025-06-10 | 12 | 2027-06-07 | SS | 2019-05-06 | 2019-06-20 | 2025-07-07 | 2025-07-07 | 12 | 2027-07-04 | 600L Fixed Vessel | AROKO
EC-BAL-07 | EC-510 | E.Coli | FaNo | Buffer Preparation | BAL | AS |  |  |  | MA | 2025-06-08 | 12 | 2026-12-01 | [7 empty] | Balancer | Mahak
EC-BPP-05 | EC-510 | E.Coli | FaNo | Buffer Preparation | BPP | SH | 2026-01-13 | 12 | 2027-01-13 | OSH | 2025-12-31 | 12 | 2026-12-31 | SS | 2024-01-11 | 2024-01-13 | 2026-04-29 | 2026-04-29 | 12 | 2027-04-29 | 1000L Fixed Vessel | AROKO
EC-MCR-06 | EC-510 | E.Coli | FaNo | Buffer Preparation | MCR | ABL | 2026-05-17 | 12 | 2027-05-17 | JA | 2025-06-10 | 12 | 2027-05-31 | MHD | 2019-06-10 | 2019-06-11 | 2023-01-01 | 2023-01-01 |  |  | mobile CIP pump
EC-OHS-08 | EC-510 | E.Coli | FaNo | Buffer Preparation | OHS | SH | 2026-03-10 | 12 | 2027-03-10 | MSH | 2026-02-07 | 12 | 2027-02-07 | [7 empty] | overhead stirrer | IKA RW47
EC-FUH-01 | EC-510 | E.Coli | FaNo | Buffer Preparation | FUH | RA | 2025-05-26 | 12 | 2027-05-26 | [11 empty] | Fumehood
EC-PHM-03 | EC-510 | E.Coli | FaNo | Buffer Preparation | PHM | AM |  |  |  | JA | 2025-06-02 | 12 | 2026-11-18 | [7 empty] | pH meter | Metrohm 827
EC-PHM-07 | EC-510 | E.Coli | FaNo | Buffer Preparation | PHM | AM |  |  |  | MA | 2026-01-19 | 12 | 2027-01-19 | [7 empty] | pH meter | Metrohm 913
EC-CON-08 | EC-510 | E.Coli | FaNo | Buffer Preparation | CON | HZ |  |  |  | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | Conductivity meter | 4510
EC-BAL-04 | EC-510 | E.Coli | FaNo | Buffer Preparation | BAL | AS |  |  |  | MA | 2025-06-08 | 12 | 2026-12-01 | [7 empty] | Balancer | Sartorius
EC-LYO-08 | EC-538 | E.Coli | MoDa | DSP5 | LYO | SH | 2026-01-29 | 12 | 2027-01-29 | MT | 2026-01-26 | 12 | 2027-01-26 | SS | 2025-01-29 | 2025-02-02 | 2026-03-10 | 2026-03-10 | 12 | 2027-03-10 | Central freezedryer
MF-LNI-02 | MF-504 | E.Coli | LaAl | Control rit freeze | LNI |  |  |  |  | MA | 2025-12-09 | 12 | 2026-12-09 | [7 empty] | N2 tank | DP450-210HP
MF-LNI-01 | MF-504 | E.Coli | LaAl | Control rit freeze | LNI |  |  |  |  | MA | 2025-12-09 | 12 | 2026-12-09 | [7 empty] | N2 tank | DP450-210HP
MF-CRF-01 | MF-504 | E.Coli | LaAl | Control rit freeze | CRF | ABL | 2026-04-11 | 3 | 2026-10-20 | OSH | 2026-04-20 | 6 | 2026-10-20 | SS | 2018-01-01 | 2018-01-05 | 2026-01-16 | 2026-01-16 | 24 | 2028-01-16 | Controlled rated freeze | Cinnagen
MF-OXM-02 | MF-504 | E.Coli | LaAl | Control rit freeze | OXM |  |  |  |  | OSH | 2025-12-15 | 12 | 2026-12-15 | [7 empty] | Oxygen meter
EC-FRZ-07 | EC-522 | E.Coli | LaAl | Corridor | FRZ | MG | 2025-10-09 | 12 | 2027-10-09 | OSH | 2026-01-08 | 6 | 2027-01-07 | MD | 2021-10-11 | 2021-10-15 | 2025-10-23 | 2025-10-23 | 24 | 2027-10-23 | Corridor freezer
EC-HCR-07 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | HCR |  |  |  |  | MT | 2025-09-07 | 12 | 2027-09-02 | [7 empty] | Timer | Hanhart | Labor 3
EC-HST-09 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | HST | HZ |  |  |  | MSH | 2026-02-18 | 12 | 2027-02-18 | [7 empty] | Heater stirrer | Heidolph | MR Hei connect
EC-CON-05 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | CON | AK |  |  |  | OSH | 2025-09-27 | 12 | 2026-09-27 | [7 empty] | Conductivity meter | JENWAY | 4510
EC-PHM-05 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | PHM |  |  |  |  | MA | 2026-05-09 | 12 | 2027-05-09 | [7 empty] | pH meter | metrohm | 827
EC-PPG-59 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | PPG |  |  |  |  | MA | 2026-03-04 | 12 | 2027-03-04 | [7 empty] | EC-TFF-03 P guage
EC-PPG-58 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | PPG |  |  |  |  | MA | 2026-04-06 | 12 | 2027-04-06 | [7 empty] | EC-TFF-03 P guage
EC-BSC-06 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | BSC | ABL | 2026-01-11 | 12 | 2027-01-11 | OSH | 2026-05-14 | 12 | 2027-05-14 | SS | 2012-09-22 | 2012-09-25 | 2026-02-02 | 2026-02-02 | 6 | 2027-02-02 | Biosafety Cabinet | Sina | FPSL120 class 2 type A2
EC-OHS-03 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | OHS | SH | 2026-04-12 | 12 | 2027-04-12 | [11 empty] | overhead stirrer | Heidolph | RZR 2102
EC-OHS-02 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | OHS | SH | 2026-04-12 | 12 | 2027-04-12 | [11 empty] | overhead stirrer | Heidolph
EC-FRZ-09 | EC-312 | E.Coli | RaAz | CR4 Buffer prep | FRZ |  |  |  | 2027-02-01 |  |  |  |  | SS | 2026-09-14 | 2026-09-19 | 2026-09-26 |  |  | 2028-09-26
EC-DPG-05 | EC-318 | E.Coli | RaAz | CR4 Corridor | DPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2026-09-27 | [7 empty] | Differential P guage | KIMO | ATE300
EC-DPG-06 | EC-318 | E.Coli | RaAz | CR4 Corridor | DPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2026-09-27 | [7 empty] | Differential P guage | KIMO | ATE300
EC-REF-02 | EC-302 | E.Coli | RaAz | CR4 Gowning | REF | MKE | 2026-01-21 | 6 | 2027-01-21 | MT | 2026-01-19 | 6 | 2027-01-11 | MD | 2015-09-05 | 2015-09-08 | 2025-09-26 | 2025-09-26 | 24 | 2027-09-26 | Showcase Refrigerator
EC-HCR-04 | EC-306 | E.Coli | RaAz | CR4 Pegylation | HCR |  |  |  |  | MT | 2025-09-07 | 12 | 2027-09-02 | [7 empty] | Timer | Hanhart | Labor 3
EC-HCR- | EC-306 | E.Coli | RaAz | CR4 Pegylation | HCR | [6 empty] | 12 | [8 empty] | Timer | Testo | 174H
EC-CHI-02 | EC-306 | E.Coli | RaAz | CR4 Pegylation | CHI | ABL | 2026-01-11 | 12 | 2027-01-11 | MA | 2026-04-22 | 6 | 2026-10-22 | [7 empty] | chiller | Julaba | FC 1600S
EC-HCN-11 | EC-306 | E.Coli | RaAz | CR4 Pegylation | HCN |  |  |  |  | IB | 2025-07-02 | 12 | 2027-06-10 | [7 empty] | Cyanide sensor | Honeywell | BW solo
EC-HCN-06 | EC-306 | E.Coli | RaAz | CR4 Pegylation | HCN |  |  |  |  | IB | 2025-11-10 | 12 | 2026-11-10 | [7 empty] | Cyanide sensor | Honeywell | BW solo
EC-HCN-02 | EC-306 | E.Coli | RaAz | CR4 Pegylation | HCN |  |  |  |  | IB | 2025-07-02 | 12 | 2027-06-10 | [7 empty] | Cyanide sensor | UNIPHOS | 375
LP-VES-01 | EC-306 | E.Coli | RaAz | CR4 Pegylation | VES | MNT | 2026-05-07 | 12 | 2027-05-07 | MT | 2026-05-10 | 12 | 2027-05-10 | MD | 2022-08-24 | 2022-08-24 | 2025-10-22 | 2025-10-22 |  |  | Glass tank
EC-VES-01 | EC-306 | E.Coli | RaAz | CR4 Pegylation | VES | RA | 2026-08-18 | 12 | 2027-08-18 | [11 empty] | Glass tank
EC-FUH-02 | EC-306 | E.Coli | RaAz | CR4 Pegylation | FUH | SH | 2026-03-09 | 12 | 2027-03-09 | [11 empty] | Fume hood
EC-CHI-06 | EC-306 | E.Coli | RaAz | CR4 Pegylation | CHI | ABL | 2026-04-28 | 12 | 2027-04-28 | MT | 2026-04-20 | 6 | 2026-10-20 | [7 empty] | chiller | Julaba | F12
EC-HUM-01 | EC-306 | E.Coli | RaAz | CR4 Pegylation | HUM |  |  |  |  | MA | 2026-05-09 | 12 | 2027-05-09 | [7 empty] | Humidity logger | ETS
EC-BAL-03 | EC-306 | E.Coli | RaAz | CR4 Pegylation | BAL |  |  |  |  | MK | 2026-03-07 | 6 | 2027-02-09 | [7 empty] | Balancer | Mettler Toledo | JB3002L-6
EC-PPG-04 | EC-306 | E.Coli | RaAz | CR4 Pegylation | PPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2027-02-09 | [7 empty] | Glovebox P guage
EC-PPG-05 | EC-306 | E.Coli | RaAz | CR4 Pegylation | PPG | [6 empty] | 12 | 2026-09-27 | [7 empty] | Glovebox P guage
EC-PPG-02 | EC-306 | E.Coli | RaAz | CR4 Pegylation | PPG |  |  |  |  | MA | 2025-09-27 | 12 | 2027-09-21 | [7 empty] | Visor P guage
EC-PPG-03 | EC-306 | E.Coli | RaAz | CR4 Pegylation | PPG |  |  |  |  | MA | 2026-07-27 | 2 | 2027-09-21 | [7 empty] | Visor P guage
EC-DPG-07 | EC-319 | E.Coli | RaAz | CR4 Purification | DPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2026-09-27 | [7 empty] | Differential P guage | KIMO | ATE300
EC-PUM-04 | EC-530 | E.Coli | MoDa | DSP3 | PUM | ABL | 2026-01-16 | 6 | 2027-01-12 | [11 empty] | Pump | Watson marlow | 520S
EC-PUM-05 | MF-503 | E.Coli | HuGo | Distillation | PUM | ABL | 2025-12-27 | 6 | 2026-12-28 | [11 empty] | Pump | Watson marlow | 520S
EC-TFF-06 | EC-319 | E.Coli | RaAz | CR4 Purification | TFF |  |  |  |  | MA | 2026-05-31 | 12 | 2027-05-31 | [7 empty] | P guage
EC-HST-09 | EC-319 | E.Coli | RaAz | CR4 Purification | HST | HZ |  |  |  | MSH | 2026-02-18 | 12 | 2027-02-18 | [7 empty] | Heater stirrer | Heidolph | MR Hei connect
EC-HST-05 | EC-319 | E.Coli | RaAz | CR4 Purification | HST | SHA | [14 empty] | Heater stirrer | Heidolph | MR-Hei standard
EC-MST-02 | EC-319 | E.Coli | RaAz | CR4 Purification | MST | MK | [14 empty] | Magnetic stirrer | IKA | REO basic
EC-UVS-03 | EC-319 | E.Coli | RaAz | CR4 Purification | UVS | AS | 2025-11-30 | 12 | 2026-11-30 | MSH | 2026-02-08 | 6 | 2027-02-09 | [7 empty] | Spectrophotometer | JENWAY | 6305
EC-CHG-18 | EC-319 | E.Coli | RaAz | CR4 Purification | CHG | AS | 2026-01-11 | 6 | 2027-03-03 | OSH | 2025-12-09 | 12 | 2026-12-09 | SS | 2024-12-04 | 2024-12-04 | 2025-12-09 | 2025-12-09 | 12 | 2026-12-09 | Akta Pilot
EC-CHG-06 | EC-319 | E.Coli | RaAz | CR4 Purification | CHG | AS | 2026-03-02 | 6 | 2027-03-03 | MSH | 2026-01-13 | 12 | 2027-01-13 | MD | 2013-04-10 | 2013-04-10 | 2025-09-11 | 2025-09-11 | 12 | 2027-01-13 | Akta Pilot
EC-PPG-01 | EC-319 | E.Coli | RaAz | CR4 Purification | PPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2026-09-27 | [7 empty] | P guage
EC-PUM-06 | EC-520 | E.Coli | AbSa | Seed preparation | PUM |  |  | 6 | 2026-12-10 | [11 empty] | Pump | Watson marlow 520S
UT-ELV-06 | EC-313 | E.Coli | RaAz | CR4 Storage | ELV | [8 empty] | RG | 2016-12-04 | 2016-12-04 | 2020-06-01 | 2020-06-01 |  |  | elevator
MF-SPR-02 | MF-503 | E.Coli | HuGo | Distillation | SPR |  |  |  |  | OSH | 2026-01-10 | 12 | 2027-01-10 | [7 empty] | 600L Separation Reactor | sanatgaran
MF-TMS-01 | MF-503 | E.Coli | HuGo | Distillation | TMS |  |  |  |  | OSH | 2026-01-20 | 12 | 2027-01-20 | [7 empty] | Temprature sensor | schneider electric
MF-DSS-01 | MF-503 | E.Coli | HuGo | Distillation | DSS |  |  |  |  | OSH | 2026-01-20 | 12 | 2027-01-20 | [7 empty] | Distillation system
MF-SPR-01 | MF-503 | E.Coli | HuGo | Distillation | SPR |  |  |  |  | OSH | 2026-01-20 | 12 | 2027-01-20 | [7 empty] | 500L Separation Reactor | Biozeen
MF-ROT-01 | MF-503 | E.Coli | HuGo | Distillation | ROT | ABL | 2025-11-17 | 12 | 2026-11-17 | OSH | 2026-02-03 | 12 | 2027-02-03 | [7 empty] | Rotary | Heidolph | LABOROTA 20 control
MF-CHI-01 | MF-503 | E.Coli | HuGo | Distillation | CHI | ABL | 2026-04-21 | 12 | 2027-04-21 | MT | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | chiller | Julaba | SC2500a
MF-CSC-01 | MF-503 | E.Coli | HuGo | Distillation | CSC | ABL | 2025-11-10 | 12 | 2026-11-10 | [11 empty] | Chemical safety cabinet
MF-BAL-01 | MF-503 | E.Coli | HuGo | Distillation | BAL | ABR |  |  |  | MA | 2026-04-11 | 6 | 2027-04-05 | [7 empty] | Balancer | Radwag | P6100.R1.M
MF-WEI-01 | MF-503 | E.Coli | HuGo | Distillation | WEI |  |  |  |  | MK | 2026-05-02 | 12 | 2027-05-02 | [7 empty] | 2000g Weight |  | M-737
MF-WEI-02 | MF-503 | E.Coli | HuGo | Distillation | WEI |  |  |  |  | MK | 2026-05-02 | 12 | 2027-05-02 | [7 empty] | 100g Weight |  | M-738
EC-HST-06 | MF-503 | E.Coli | HuGo | Distillation | HST | AK | [14 empty] | Heater stirrer | Heidolph | MR-Hei standard
RD-HST-11 | MF-503 | E.Coli | HuGo | Distillation | HST | NA | [14 empty] | Heater stirrer | Heidolph | MR-Hei standard
EC-HST-09 | MF-503 | E.Coli | HuGo | Distillation | HST | AS |  | 12 | 2027-06-13 | MSH | 2026-02-18 | 12 | 2027-02-18 | [7 empty] | Heater stirrer | Heidolph | MR-Hei standard
MF-CSC-02 | MF-503 | E.Coli | HuGo | Distillation | CSC | ABL | 2025-11-10 | 12 | 2026-11-10 | [11 empty] | Chemical safety cabinet
MF-HST-01 | MF-503 | E.Coli | HuGo | Distillation | HST | ABL | [14 empty] | Heater stirrer | Heidolph | Hei-Plate mix/heat core
MF-HST-02 | MF-503 | E.Coli | HuGo | Distillation | HST | ABL | [14 empty] | Heater stirrer | Heidolph | Hei-Plate mix/heat core
MF-PPG-05 | MF-503 | E.Coli | HuGo | Distillation | PPG |  |  |  |  | MA |  | 12 | 2027-06-13 | [7 empty] | CA mask
MF-PPG-06 | MF-503 | E.Coli | HuGo | Distillation | PPG |  |  |  |  | MA |  | 12 | 2027-06-13 | [7 empty] | CA mask
MF-PPG-92 | MF-503 | E.Coli | HuGo | Distillation | PPG |  |  |  |  | OSH | 2026-10-02 | 12 | 2027-10-02 | [7 empty] | P guage
MF-ICM-02 | MF-503 | E.Coli | HuGo | Distillation | ICM | MK | 2025-05-05 | 12 | 2027-05-05 | [11 empty] | Ice maker | Khalegh
EC-PUM-08 | MF-503 | E.Coli | MoDa | DSP6 | PUM | ABL | 2026-04-21 | 12 | 2027-04-21 | [11 empty] | Vaccum pump
EC-PUM-09 | EC-508 | E.Coli | RaAz | DSP2 | PUM | AS | 2025-06-01 | 12 | 2027-06-01 | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | Pump | Sartojet | HSE-U-72
EC-PUM-11 | EC-518 | E.Coli | AbSa | USP1 | PUM | ABL | 2026-04-25 | 6 | 2026-10-25 | [11 empty] | Pump | Watson marlow 520S
MF-RRZ-02 | MF-503 | E.Coli | HuGo | Distillation | RRZ | MG | 2025-03-17 | 12 | 2027-03-17 | MT | 2026-03-09 | 6 | 2027-09-06 | MHD | 2024-03-13 | 2024-03-13 | 2024-06-29 |  | 24 |  | Freezer -20/Refrigerator 3.5
MF-GSD-02 | MF-503 | E.Coli | HuGo | Distillation | GSD |  |  |  |  | MSH | 2025-11-24 | 12 | 2026-11-24 | [7 empty] | Gas detector | Enmet
MF-GSD-01 | MF-503 | E.Coli | HuGo | Distillation | GSD |  |  |  |  | OSH | 2025-11-28 | 12 | 2026-11-28 | [7 empty] | Gas detector | Enmet
MF-DSS-01 | MF-503 | E.Coli | HuGo | Distillation | DSS | AS | 2025-11-15 | 6 | 2026-11-17 | OSH | 2026-01-20 | 12 | 2027-01-20 | MHD | 2021-03-07 | 2021-03-07 | 2021-03-07 | 2021-03-07 |  |  | Distillation system
MF-SPR-01 | MF-503 | E.Coli | HuGo | Distillation | SPR | AS | 2026-05-13 | 6 | 2026-11-13 |  |  |  |  | MHD | 2021-03-07 | 2021-03-07 | 2021-03-07 | 2021-03-07 |  |  | 500L Separation Reactor | Biozeen
MF-SPR-02 | MF-503 | E.Coli | HuGo | Distillation | SPR | AS | 2025-07-03 | 12 | 2027-01-12 |  |  |  |  | MHD | 2024-08-26 | 2024-08-26 | 2024-08-26 | 2024-08-26 |  |  | 600L Separation Reactor | sanatgaran
EC-CHG-08 | EC-513 | E.Coli | NeMa | DSP1 | CHG | AS | 2026-04-22 | 6 | 2026-10-22 |  | 2027-02-21 |  | 2027-02-21 | SS | 2014-10-26 |  |  | 2025-06-29 | 12 | 2027-02-21 | Akta Pilot | GE
EC-PUM-12 | EC-530 | E.Coli | MoDa | DSP3 | PUM | RA | 2025-07-21 | 12 | 2027-07-12 | MA | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | Pump | Sartojet
EC-TFF-04 | EC-513 | E.Coli | NeMa | DSP1 | TFF |  |  |  |  | OSH | 2026-01-28 | 12 | 2027-01-28 | [7 empty] | EC-TFF-04 P guage
EC-CHG-03 | EC-513 | E.Coli | NeMa | DSP1 | CHG | AS | 2026-02-21 | 6 | 2027-03-03 | MSH | 2026-02-21 | 12 | 2027-02-21 | SS | 2017-01-10 |  |  | 2026-02-21 | 12 | 2027-02-21 | Akta Pilot
EC-CHG-16 | EC-513 | E.Coli | NeMa | DSP1 | CHG | AS | 2026-02-21 | 6 | 2027-01-12 | OSH | 2025-12-23 | 12 | 2026-12-23 | SS | 2023-12-25 |  |  | 2025-12-23 | 12 | 2026-12-23 | Akta Pilot
EC-NAN-01 | EC-513 | E.Coli | NeMa | DSP1 | NAN | AS | 2025-11-30 | 12 | 2026-11-30 | MSH | 2026-02-18 | 6 | 2027-02-09 | [7 empty] | Nanodrop | Thermo scientific 2000
EC-CON-04 | EC-513 | E.Coli | NeMa | DSP1 | CON | KR |  |  |  | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | Conductivity meter | JENWAY 470
EC-SAM-04 | EC-513 | E.Coli | NeMa | DSP1 | SAM |  |  |  |  | MA | 2026-05-18 | 6 | 2026-11-18 | [7 empty] | Sampler 0.5 - 10 | physiocare
EC-SAM-10 | EC-513 | E.Coli | NeMa | DSP1 | SAM |  |  |  |  | MT | 2025-12-21 | 6 | 2026-12-21 | [7 empty] | Sampler 10 - 100 | eppendorph search plus
EC-SAM-06 | EC-513 | E.Coli | NeMa | DSP1 | SAM |  |  |  |  | MT | 2026-03-03 | 6 | 2027-03-03 | [7 empty] | Sampler 20 - 200 | biohit
EC-SAM-13 | EC-513 | E.Coli | NeMa | DSP1 | SAM |  |  |  |  | MT | 2026-03-03 | 6 | 2027-03-03 | [7 empty] | Sampler 100 - 1000 | eppendorph search plus
EC-BPG-38-PG-02 | EC-513 | E.Coli | NeMa | DSP1 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-09-21 | [7 empty] | P guage
EC-CHG-14 | EC-513 | E.Coli | NeMa | DSP1 | CHG | AS | 2026-02-21 | 6 | 2027-01-12 | OSH | 2025-11-24 | 12 | 2026-11-24 | MD |  |  |  | 2025-11-24 | 12 | 2026-11-24 | Akta Process | GE
EC-PPG-44 | EC-513 | E.Coli | NeMa | DSP1 | PPG |  |  |  |  | OSH | 2026-02-18 | 12 | 2027-02-18 | [7 empty] | P Valve
EC-CLR-503 | EC-513 | E.Coli | NeMa | DSP1 | CLR | MG | 2026-04-24 | 6 | 2026-10-24 | OSH | 2026-01-08 | 6 | 2027-01-07 | SS |  |  |  | 2024-06-08 | 24 | 2028-06-08 | Coldroom
EC-PRV-07 | EC-513 | E.Coli | NeMa | DSP1 | PRV | SH | 2026-03-10 | 12 | 2027-03-10 | MSH | 2026-03-03 | 12 | 2027-03-03 | SS |  |  |  | 2026-04-21 | 12 | 2027-04-21 | 1000L Fixed Vessel | AROKO
EC-BPG-22-PG-01 | EC-513 | E.Coli | NeMa | DSP1 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-09-21 | [7 empty] | P guage | Hanbon
EC-BPG-38-PG-01 | EC-513 | E.Coli | NeMa | DSP1 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-09-21 | [7 empty] | P guage | Hanbon
EC-HST-04 | EC-513 | E.Coli | NeMa | DSP1 | HST | [15 empty] | Heater stirrer | Heidolph
EC-PUM-13 | EC-513 | E.Coli | NeMa | DSP1 | PUM |  |  | 12 | 2027-07-12 |  |  | 12 | 2026-10-20 | [7 empty] | Pump
EC-OHS-01 | EC-513 | E.Coli | NeMa | DSP1 | OHS | RA | 2025-08-18 | 12 | 2027-09-03 | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | overhead stirrer | Heidolph RZR 2102
EC-PUM-14 | EC-513 | E.Coli | NeMa | DSP1 | PUM |  |  | 12 | 2027-04-25 |  |  | 12 | 2027-05-24 | [7 empty] | Pump
EC-FPB-504 | EC-513 | E.Coli | NeMa | DSP1 | FPB |  |  |  |  | JA | 2025-06-10 | 12 | 2027-05-31 |  |  |  |  | 2025-08-25 | 12 | 2027-06-26 | Fumigate passbox DPG
EC-PPG-78 | EC-513 | E.Coli | NeMa | DSP1 | PPG |  |  |  |  | OSH | 2025-12-06 | 12 | 2026-12-06 | [7 empty] | CA mask
EC-BSC-03 | EC-513 | E.Coli | NeMa | DSP1 | BSC | AS | 2026-11-30 |  | 2026-11-30 | OSH | 2025-06-02 | 12 | 2027-05-26 |  |  |  |  | 2026-04-12 | 6 | 2026-10-12 | Biosafety Cabinet | AROKO
EC-BAL-08 | EC-513 | E.Coli | NeMa | DSP1 | BAL | AS |  |  |  | MA | 2025-12-08 | 6 | 2026-12-01 | [7 empty] | Balancer | pand
EC-MCR-10 | EC-513 | E.Coli | NeMa | DSP1 | MCR | SH | 2026-03-10 | 12 | 2027-03-10 | MA | 2026-03-04 | 12 | 2027-03-04 | MHD | 2025-03-06 | 2025-03-06 | 2025-03-06 | 2025-03-06 |  |  | mobile CIP pump
EC-PUM-16 | EC-509A | E.Coli | RaAz | DSP2 | PUM | SH | 2026-01-16 | 6 | 2027-01-20 | [11 empty] | Pump | Watson marlow 520S
EC-PUM-17 | EC-508 | E.Coli | RaAz | DSP2 | PUM | SH | 2025-11-30 | 6 | 2026-11-30 | [11 empty] | Pump | Watson marlow 520S
EC-PPG-36 | EC-513 | E.Coli | NeMa | DSP1 | PPG | [6 empty] | 12 | 2026-10-21 | [7 empty] | P guage
EC-PPG-51 | EC-513 | E.Coli | NeMa | DSP1 | PPG | [6 empty] | 12 | 2027-08-19 | [7 empty] | P guage
EC-TRM-02 | EC-513 | E.Coli | NeMa | DSP1 | TRM | [6 empty] | 12 | 2027-02-07 | [7 empty] | Torque meter
EC-BPG-22-PG-02 | EC-513 | E.Coli | NeMa | DSP1 | PPG | [15 empty] | P guage |  |  |  | No CA
EC-PUM-18 | EC-319 | E.Coli | RaAz | CR4 Purification | PUM | SH | 2026-02-10 | 6 | 2027-03-03 | [11 empty] | Pump | watson marlow | 520S
EC-PRV-02 | EC-508 | E.Coli | RaAz | DSP2 | PRV | ABR | 2025-06-08 | 12 | 2027-06-10 | OSH | 2025-06-21 | 12 | 2027-06-17 | SS | 2019-05-05 | 2019-06-16 | 2025-07-07 | 2025-07-07 | 12 | 2027-07-04 | 300L Fixed Vessel | AROKO
EC-MCR-07 | EC-508 | E.Coli | RaAz | DSP2 | MCR | ABL | 2026-05-17 | 12 | 2027-05-17 | MSH | 2026-03-03 | 12 | 2027-03-03 | MD | 2019-06-17 | 2019-06-17 | 2025-06-17 | 2025-06-17 |  |  | mobile CIP pump
EC-UVS-02 | EC-508 | E.Coli | RaAz | DSP2 | UVS | ABL | 2025-06-01 | 12 | 2027-06-01 | OSH | 2026-03-03 | 6 | 2027-06-01 | [7 empty] | Spectrophotometer | JENWAY 6305
EC-PPG-74 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | MT | 2026-05-31 | 12 | 2027-05-31 | [7 empty] | EC-TFF-01 P guage
EC-PPG-48 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | MT | 2025-10-21 | 12 | 2026-10-21 | [7 empty] | EC-TFF-01 P guage
EC-PHM-04 | EC-508 | E.Coli | RaAz | DSP2 | PHM |  |  |  |  | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | pH meter | Metrohm 826
RC-CON-03 | EC-508 | E.Coli | RaAz | DSP2 | CON | AM |  |  |  | MT | 2026-02-16 | 12 | 2027-02-16 | [7 empty] | Conductivity meter | 47C
EC-PUM-09-PG-01 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | MT | 2025-11-10 | 12 | 2026-11-10 | [7 empty] | EC-PUM-09 P guage
EC-PPG-55 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | MA | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | P guage
EC-PPG-46 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | MSH | 2026-03-03 | 12 | 2027-03-03 | [7 empty] | P guage
EC-PPG-72 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | OSH | 2026-03-03 | 12 | 2027-03-03 | [7 empty] | P guage
EC-FPB-503 | EC-508 | E.Coli | RaAz | DSP2 | FPB |  |  |  |  | JA | 2025-06-10 | 12 | 2027-05-31 | MD | 2019-06-11 | 2019-06-11 | 2025-08-18 | 2025-08-25 | 12 | 2027-06-26 | Fumigate passbox DPG |  |  | DPG
EC-CLR-502 | EC-508 | E.Coli | RaAz | DSP2 | CLR | MG | 2026-04-24 | 6 | 2026-10-24 | OSH | 2026-01-08 | 6 | 2027-01-07 | MHD | 2019-07-01 | 2019-07-04 | 2024-06-09 | 2024-06-09 | 24 | 2028-06-09 | Coldroom
EC-CHG-07 | EC-508 | E.Coli | RaAz | DSP2 | CHG | AS | 2026-04-27 | 6 | 2026-10-27 | OSH | 2025-12-23 | 12 | 2026-12-23 | SS | 2021-02-02 | 2021-02-02 | 2025-12-23 | 2025-12-23 | 12 | 2026-12-23 | Akta Pilot | GE
EC-CHG-05 | EC-508 | E.Coli | RaAz | DSP2 | CHG | AS | 2026-04-27 | 6 | 2026-10-27 | MSH | 2025-07-09 | 12 | 2027-07-08 | MD | 2015-06-15 | 2015-06-15 | 2025-07-09 | 2025-07-09 | 12 | 2027-07-08 | Akta Pilot | GE
EC-PPG-77 | EC-508 | E.Coli | RaAz | DSP2 | PPG |  |  |  |  | OSH | 2025-12-06 | 12 | 2026-12-06 | [7 empty] | CA mask
EC-PSH-01 | EC-508 | E.Coli | RaAz | DSP2 | PSH | MG |  |  |  | MT | 2026-01-04 | 12 | 2027-01-04 | [7 empty] | A1AC Pilot scale holder | Millipore
EC-PUM-20 | EC-510 | E.Coli | FaNo | Buffer Preparation | PUM | SH | 2025-12-13 | 6 | 2026-12-10 | [11 empty] | Pump | Watson marlow 520S
EC-PUM-21 | EC-513 | E.Coli | NeMa | DSP1 | PUM | SH | 2025-12-13 | 6 | 2026-12-10 | [11 empty] | Pump | Watson marlow 520S
EC-HMG-07 | EC-509A | E.Coli | RaAz | DSP2 | HMG | SH |  | 6 | 2026-12-11 | [11 empty] | overhead stirrer | IKA T25
EC-OSH-01 | EC-509A | E.Coli | RaAz | DSP2 | OSH | ABL | 2025-06-08 | 12 | 2027-06-10 | [11 empty] | Orbital shaker heidolph | heidolph promax 2020
EC-TFF-02 | EC-509A | E.Coli | RaAz | DSP2 | PPG |  | 2026-07-08 |  |  | OSH |  | 12 | 2027-05-31 | [7 empty] | TFF
EC-HST-04 | EC-509A | E.Coli | RaAz | DSP2 | HST | SHA | [14 empty] | Heater stirrer | Heidolph
EC-PUM-22 | EC-513 | E.Coli | NeMa | DSP1 | PUM | SH | 2025-12-22 | 6 | 2026-12-19 | [11 empty] | Pump | Watson marlow 520S
EC-MST-01 | EC-509A | E.Coli | RaAz | DSP2 | MST | AM | [14 empty] | Magnetic stirrer | MR Hei-MIX L
EC-BSC-04 | EC-509 | E.Coli | RaAz | DSP2 | BSC | AS | 2025-11-30 | 12 | 2026-11-30 | OSH | 2025-06-02 | 12 | 2027-05-26 | SS | 2019-07-01 | 2019-07-01 | 2026-04-12 | 2026-04-12 | 6 | 2026-10-12 | Biosafety Cabinet | AROKO |  | DPG
EC-MDF-01 | EC-530 | E.Coli | MoDa | DSP3 | MDF | SH | 2026-02-21 | 12 | 2027-02-21 |  |  |  |  | SS | 2019-06-05 | 2019-06-05 | 2026-05-02 | 2026-05-02 |  |  | Depth filter housing
EC-MCR-03 | EC-530 | E.Coli | MoDa | DSP3 | MCR | ABL | 2025-05-17 | 12 | 2027-05-17 | MA | 2025-06-10 | 12 | 2027-05-31 | MD | 2019-06-19 | 2019-06-19 | 2019-06-19 | 2019-06-19 |  |  | CIP Pump |  |  | T-C
EC-PRV-06 | EC-530 | E.Coli | MoDa | DSP3 | PRV | AS | 2025-10-21 | 12 | 2026-10-21 | OSH | 2025-12-31 | 12 | 2026-12-31 | SS | 2016-09-14 | 2016-09-14 | 2025-05-02 | 2026-05-03 | 12 | 2027-05-03 | 600L fixed vessel |  |  | …
EC-PUM-23 | EC-530 | E.Coli | MoDa | DSP3 | PUM | SH | 2026-05-07 | 12 | 2027-05-07 | MT | 2026-05-09 | 12 | 2027-05-09 | [7 empty] | Pump | Sartojet
EC-PUM-26 | EC-313 | E.Coli | RaAz | CR4 Storage | PUM | AS | 2025-07-24 | 12 | 2027-07-26 | [11 empty] | Pump | Lowara
EC-TFF-05-PG-01 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MT | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | TFF pressure guage |  |  | P
EC-TFF-05-PG-02 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MT | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | TFF pressure guage |  |  | P
EC-PUM-27 | EC-531 | E.Coli | MoDa | DSP4 | PUM | SH | 2026-02-10 | 6 | 2027-03-03 | [11 empty] | Pump | Watson marlow | 620s
EC-PRV-03 | EC-530 | E.Coli | MoDa | DSP3 | PRV | AS | 2025-11-18 | 12 | 2026-11-18 | OSH | 2025-08-23 | 12 | 2027-08-19 | MD | 2024-08-27 | 2024-08-27 | 2025-09-11 | 2025-09-11 | 12 | 2026-09-11 | 500L fixed vessel |  |  | 3T-LC
EC-CNF-04 | EC-534 | E.Coli | MoDa | DSP3 | CNF | AS | 2025-11-15 | 12 | 2026-11-15 | OSH | 2026-02-18 | 6 | 2027-02-09 | MHD | 2021-10-06 | 2021-10-06 | 2021-10-06 | 2021-10-06 |  |  | Tubular Centrifuge | CEPA |  | RPM
EC-FRZ-02 | EC-534 | E.Coli | MoDa | DSP3 | FRZ | MG | 2026-01-04 | 6 | 2027-01-02 | OSH | 2026-01-08 | 6 | 2027-01-07 | MD | 2014-09-10 | 2014-09-16 | 2025-11-01 | 2025-11-01 | 24 | 2027-11-01 | Bosch freezer |  |  | T
EC-HMG-06 | EC-534 | E.Coli | MoDa | DSP3 | HMG | AS | 2026-01-06 | 6 | 2027-01-05 | MT | 2026-02-17 | 12 | 2027-02-17 | [7 empty] | IKA ultraturrax |  |  | RPM
EC-CLR-504 | EC-534 | E.Coli | MoDa | DSP3 | CLR | MG | 2025-12-20 | 6 | 2027-01-02 | MT | 2026-05-09 | 6 | 2026-11-09 | MHD | 2021-02-11 | 2021-02-16 | 2025-03-05 | 2025-03-05 | 24 | 2027-03-05 | Coldroom |  |  | T
EC-CSC-01 | EC-534 | E.Coli | MoDa | DSP3 | CSC | SH | 2026-03-09 | 12 | 2027-03-09 | [11 empty] | Chemical safety cabinet
EC-FUH-03 | EC-534 | E.Coli | MoDa | DSP3 | FUH | SH | 2026-03-09 | 12 | 2027-03-09 | [11 empty] | Fumehood glass vessel
EC-VES-02 | EC-534 | E.Coli | MoDa | DSP3 | VES | ABR |  |  |  | MA | 2026-01-05 | 12 | 2027-01-05 | MD | 2021-05-29 | 2021-05-29 | 2021-05-29 | 2021-05-29 |  |  | 100L Glass vessel |  |  | RPM
EC-OHS-06 | EC-534 | E.Coli | MoDa | DSP3 | OHS | ABL | 2025-06-07 | 12 | 2027-06-10 | [11 empty] | Overhead stirrer Blue IKA RW47
EC-OHS-04 | EC-534 | E.Coli | MoDa | DSP3 | OHS | RA | 2025-08-16 | 12 | 2027-08-16 | [11 empty] | Overhead stirrer white heitorque 400
EC-CHG-09 | EC-530 | E.Coli | MoDa | DSP3 | CHG | AS | 2026-04-28 | 6 | 2026-10-28 | OSH | 2025-09-07 | 12 | 2027-09-01 | MD | 2015-10-25 | 2015-10-25 | 2025-09-07 | 2025-09-07 | 12 | 2027-09-01 | Right aktapilot |  |  | 6
EC-CHG-10 | EC-530 | E.Coli | MoDa | DSP3 | CHG | AS | 2025-12-20 | 6 | 2026-12-19 | OSH | 2025-09-07 | 12 | 2027-09-01 | MD | 2018-10-07 | 2018-10-07 | 2025-09-07 | 2025-09-07 | 12 | 2027-09-08 | Left aktapilot |  |  | 6
EC-BPG-40-PG-02 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-09-21 | [7 empty] | Hanbon Air Pump
EC-BPG-39-PG-02 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-09-21 | [7 empty] | Hanbon Air Pump
EC-PPG-76 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | OSH | 2025-08-23 | 12 | 2027-08-19 | [7 empty] | Column P Guage
EC-PPG-64 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MT | 2026-05-09 | 12 | 2027-05-09 | [7 empty] | EC-MDF-01 P Guage
EC-FPB-502-PG-03 | EC-530 | E.Coli | MoDa | DSP3 | FPB |  |  |  |  | MSH | 2026-03-03 | 12 | 2027-03-03 | MD | 2019-06-11 | 2019-06-11 | 2025-06-26 | 2025-06-26 | 12 | 2027-06-27 | Fumigate passbox DPG |  |  | P
EC-BPG-39-PG-01 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-09-21 | [7 empty] | EC-BPG-39 P Guage
EC-BPG-40-PG-01 | EC-530 | E.Coli | MoDa | DSP3 | PPG |  |  |  |  | MA | 2025-09-29 | 12 | 2027-08-29 | [7 empty] | EC-BPG-40 P Guage
EC-CHI-05 | EC-530 | E.Coli | MoDa | DSP3 | CHI | ABL | 2025-06-18 | 12 | 2027-06-15 | MA | 2025-07-26 | 6 | 2027-01-15 | [7 empty] | Rotary Chiller |  |  | T
EC-HST-11 | EC-530 | E.Coli | MoDa | DSP3 | HST | AM |  |  |  | MSH | 2026-02-07 | 12 | 2027-02-07 | [7 empty] | Heater stirrer
EC-PUM-28 | EC-530 | E.Coli | MoDa | DSP3 | PUM | SH |  | 12 | 2027-05-31 | MA |  | 12 | 2026-12-08 | [7 empty] | Pump | Sartojet
EC-PUM-29 | EC-530 | E.Coli | MoDa | DSP3 | PUM | SH | 2026-02-21 | 12 | 2027-02-21 | [11 empty] | PRV-06 pump
EC-PUM-30 | EC-518 | E.Coli | AbSa | USP1 | PUM | ABL | 2025-12-15 | 12 | 2026-12-15 | [11 empty] | Pump | Ebara Disk stack pump
EC-PUM-31 | EC-530 | E.Coli | MoDa | DSP3 | PUM | SH | 2025-12-27 | 12 | 2026-12-27 | [11 empty] | TFF Pump
EC-SAM-17 | EC-530 | E.Coli | MoDa | DSP3 | SAM |  |  |  |  | MM | 2025-10-19 | 12 | 2027-04-04 | [7 empty] | Sampler 10 - 100 | Biohit
EC-SAM-18 | EC-530 | E.Coli | MoDa | DSP3 | SAM |  |  |  |  | MM | 2025-10-20 | 12 | 2027-04-04 | [7 empty] | Sampler 100 - 1000 | Biohit
EC-POA-01 | EC-531 | E.Coli | MoDa | DSP4 | POA |  |  |  |  | MT | 2026-07-01 | 12 | 2027-07-01 | [7 empty] | Portable oxygen meter
EC-NAN-02 | EC-531 | E.Coli | MoDa | DSP4 | NAN | HN |  |  |  | MSH | 2026-03-16 | 6 | 2027-02-09 | [7 empty] | Nanodrop | Thermo scientific | nanodrop one | ND
EC-CHG-13 | EC-531 | E.Coli | MoDa | DSP4 | CHG | ABL | 2026-03-14 | 3 | 2026-12-27 | MSH | 2026-02-07 | 12 | 2027-02-07 | SS | 2019-04-23 | 2019-04-23 | 2026-02-07 | 2026-02-07 | 12 | 2027-02-07 | NovaSep |  |  | 14
EC-PPG-70 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | OSH | 2025-10-13 | 12 | 2027-08-29 | [7 empty] | LC 110 up p
EC-PPG-71 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | OSH | 2025-10-13 | 12 | 2027-08-28 | [7 empty] | LC 110 down p
EC-PPG-66 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | MSH | 2026-02-07 | 12 | 2027-02-07 | [7 empty] | CA
EC-LYO-07 | EC-531 | E.Coli | MoDa | DSP4 | LYO | SH | 2025-10-07 | 12 | 2026-10-07 | MSH | 2025-07-09 | 12 | 2027-07-08 | MHD | 2021-09-28 | 2021-09-29 | 2021-09-29 | 2021-09-29 |  |  | Dena freezedryer |  |  | 2T-PT
EC-LYO-06 | EC-531 | E.Coli | MoDa | DSP4 | LYO | SH | 2025-10-07 | 12 | 2026-10-07 | OSH | 2025-08-23 | 12 | 2027-08-19 | MHD | 2021-09-28 | 2021-09-29 | 2021-09-29 | 2021-09-29 |  |  | Dena freezedryer |  |  | 2T-PT
EC-LNT-03 | EC-531 | E.Coli | MoDa | DSP4 | LNT | AS |  |  |  | MA | 2026-01-26 | 12 | 2027-01-26 | MHD | 2024-02-10 | 2024-02-10 | 2024-02-10 | 2024-02-10 |  |  | 700-455 N2 tank |  |  | P-LM
EC-LNT-01 | EC-531 | E.Coli | MoDa | DSP4 | LNT | NA | [7 empty] | SS | 2021-02-03 | 2021-02-03 | 2026-05-09 | 2026-05-09 |  |  | 450-210 N2 tank
EC-PPG-57 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | MSH | 2026-02-07 | 12 | 2027-02-07 | [7 empty] | LNT 01 big P |  |  | P
EC-PPG-56 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | MA | 2025-12-08 | 12 | 2026-12-08 | [7 empty] | LNT 01 small P |  |  | P
EC-LYO-05 | EC-531 | E.Coli | MoDa | DSP4 | LYO | SH | 2025-12-06 | 12 | 2026-12-06 | MSH | 2026-02-07 | 12 | 2027-02-07 | MD | 2020-11-22 | 2020-11-23 | 2020-11-23 | 2020-11-23 |  |  | Dena freezedryer |  |  | 2T-PT
EC-LYO-04 | EC-531 | E.Coli | MoDa | DSP4 | LYO | SH | 2025-12-06 | 12 | 2026-12-06 | MSH | 2026-02-07 | 12 | 2027-02-07 | MD | 2020-11-22 | 2020-11-23 | 2020-11-23 | 2020-11-23 |  |  | Dena freezedryer |  |  | 2T-PT
EC-LYO-03 | EC-531 | E.Coli | MoDa | DSP4 | LYO | SH | 2025-12-06 | 12 | 2026-12-06 | OSH | 2025-12-06 | 12 | 2026-12-06 | MD | 2020-08-17 | 2020-08-18 | 2020-08-18 | 2020-08-18 |  |  | Dena freezedryer |  |  | 2T-PT
EC-BLR-01 | EC-531 | E.Coli | MoDa | DSP4 | BLR | SH | 2026-05-17 | 6 | 2026-11-17 | [11 empty] | Ballon rotator
EC-OXM-01 | EC-531 | E.Coli | MoDa | DSP4 | OXM |  |  |  |  | OSH | 2026-02-18 | 12 | 2027-02-18 | [7 empty] | Fixed oxygen meter |  |  | O
EC-LYO-02 | EC-531 | E.Coli | MoDa | DSP4 | LYO | SH | 2025-10-07 | 12 | 2026-10-07 | MSH | 2026-02-07 | 12 | 2027-02-07 | MHD | 2019-10-09 | 2019-10-09 | 2025-01-15 | 2025-01-15 |  |  | Christ freezedryer |  |  | T-PT
EC-PPG-69 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | MSH | 2026-05-13 | 12 | 2027-05-13 | [7 empty] | CA |  |  | P
EC-BSC-07 | EC-531 | E.Coli | MoDa | DSP4 | BSC | ABL | 2026-01-07 | 12 | 2027-01-21 | OSH | 2025-12-06 | 12 | 2026-12-06 | SS | 2014-08-28 | 2014-08-28 | 2026-02-17 | 2026-02-17 | 6 | 2027-02-10 | SDS156 safety cabinet |  |  | AV-PT
EC-PPG-52 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2027-09-21 | [7 empty] | LC 150 down |  |  | P
EC-PPG-53 | EC-531 | E.Coli | MoDa | DSP4 | PPG |  |  |  |  | OSH | 2025-09-27 | 12 | 2027-09-21 | [7 empty] | LC 150 up |  |  | P
EC-ISR-01 | EC-531 | E.Coli | MoDa | DSP4 | ISR | SH | 2026-03-02 | 12 | 2027-03-02 | MSH | 2026-02-07 | 12 | 2027-02-07 | SS | 2024-03-02 | 2024-03-04 | 2026-03-08 | 2026-03-08 | 12 | 2027-03-08 | Isolator |  |  | T-PT-V-H
EC-PHM-06 | EC-531 | E.Coli | MoDa | DSP4 | PHM | AK |  |  |  | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | pH meter | Metrohm | 913 | T
EC-PUM-32 | EC-516 | E.Coli | AlMo | USP2 | PUM | AS | 2025-12-27 | 6 | 2026-12-22 | [11 empty] | Pump | kavosh teb
EC-LYO-01 | EC-533 | E.Coli | LaAl | Control rit freeze | LYO | AA | 2024-07-03 | 12 | UM | MT | 2026-02-18 | 12 | 2027-02-18 | MHD | 2021-03-15 | 2021-03-31 | 2021-03-31 | 2021-03-31 |  |  | Lyophilizer |  |  |  | Under maintenance
EC-MCR-09 | EC-538 | E.Coli | MoDa | DSP5 | MCR | SH | 2026-02-03 | 12 | 2027-02-03 | OSH | 2025-12-31 | 12 | 2026-12-31 | MHD | 2025-01-16 | 2025-01-16 | 2025-01-16 | 2025-01-16 |  |  | CIP pump |  |  | T-C
EC-CLR-505 | EC-538 | E.Coli | MoDa | DSP5 | CLR | MG | 2026-01-20 | 6 | 2027-01-19 | MA | 2026-03-04 | 6 | 2027-02-28 | MHD | 2025-02-03 | 2025-02-18 | 2025-02-26 | 2025-02-26 | 24 | 2027-02-26 | Coldroom |  |  | T
EC-PPG-80 | EC-538 | E.Coli | MoDa | DSP5 | PPG |  |  |  |  | MSH | 2027-05-13 | 12 | 2027-05-13 | [7 empty] | CA |  |  | P
EC-PPG-81 | EC-538 | E.Coli | MoDa | DSP5 | PPG |  |  |  |  | MSH | 2027-05-13 | 12 | 2027-05-13 | [7 empty] | CA |  |  | P
EC-OXM-03 | EC-538 | E.Coli | MoDa | DSP5 | OXM |  |  |  |  | MSH | 2026-02-03 | 12 | 2027-02-03 | [7 empty] | Fixed oxygen meter |  |  | O
EC-BPP-06 | EC-538 | E.Coli | MoDa | DSP5 | BPP | SH | 2026-01-19 | 12 | 2027-01-19 | OSH | 2026-01-12 | 12 | 2027-01-12 | SS | 2025-01-18 | 2025-01-18 | 2026-02-10 | 2026-02-10 | 12 | 2027-02-10 | Right 1000L vessel |  |  | …
EC-BPP-07 | EC-538 | E.Coli | MoDa | DSP5 | BPP | SH | 2026-01-19 | 12 | 2027-01-19 | OSH | 2026-01-12 | 12 | 2027-01-12 | SS | 2025-01-18 | 2025-01-18 | 2026-04-20 | 2026-04-20 | 12 | 2027-04-20 | Left 1000L vessel |  |  | …
EC-BSC-05 | EC-538 | E.Coli | MoDa | DSP5 | BSC | ABL | 2026-01-21 | 12 | 2027-01-21 | OSH | 2025-12-06 | 12 | 2026-12-06 | SS | 2025-01-18 | 2025-01-18 | 2026-02-02 | 2026-02-02 | 6 | 2027-02-02 | SDS 156 safety cabinet |  |  | AV-PT
EC-PPG-79 | EC-538 | E.Coli | MoDa | DSP5 | PPG |  |  |  |  | OSH | 2026-01-10 | 12 | 2027-01-10 | [7 empty] | CA
EC-CHG-17 | EC-538 | E.Coli | MoDa | DSP5 | CHG | AS | 2026-01-05 | 6 | 2027-01-12 | OSH | 2026-01-12 | 12 | 2027-01-12 | SS | 2025-01-12 | 2025-01-16 | 2026-01-12 | 2026-01-12 | 12 | 2027-01-12 | Flowdrive |  |  | 21
EC-MVS-08 | EC-538 | E.Coli | MoDa | DSP5 | MVS | SH | 2026-01-29 | 12 | 2027-01-29 | MT | 2026-01-26 | 12 | 2027-01-26 | MD | 2013-01-27 | 2013-01-27 | 2025-07-10 | 2025-07-10 | 12 | 2027-07-02 | Biozeen 50L mvs | BIOZEEN
EC-PHM-11 | EC-538 | E.Coli | MoDa | DSP5 | PHM |  |  |  |  | MSH | 2026-02-07 | 12 | 2027-02-07 | [7 empty] | pH meter | Metrohm | 913 | T
EC-TRM- | EC-538 | E.Coli | MoDa | DSP5 | TRM | [15 empty] | Torque meter | DINA Beta |  |  | No Label
EC-PUM-33 | EC-516 | E.Coli | AlMo | USP2 | PUM | SH | 2026-04-12 | 6 | 2027-04-11 | [11 empty] | Pump | cellogen
EC-FRZ-08 | EC-539 | E.Coli | MoDa | DSP6 | FRZ | MG | 2025-12-25 | 6 | 2026-12-23 | MA | 2026-03-04 | 12 | 2027-08-28 | MHD | 2025-01-25 | 290125 | 2025-02-11 | 2025-02-11 | 24 | 2027-02-11 | Freezer -30 |  |  | T
EC-CSC-05 | EC-539 | E.Coli | MoDa | DSP6 | CSC | MK | 2026-01-29 | 12 | 2027-01-29 |  |  |  |  | SS | 2024-04-09 | 2024-04-09 | 2026-02-01 | 2026-02-01 | 6 | 2027-02-01 | Right FH-L safety cabinet
EC-CSC-06 | EC-539 | E.Coli | MoDa | DSP6 | CSC | MK | 2026-01-29 | 12 | 2027-01-29 |  |  |  |  | SS | 2024-04-09 | 2024-04-09 | 2026-02-01 | 2026-02-01 | 6 | 2027-02-01 | Left FH-L safety cabinet
EC-BAL-06 | EC-539 | E.Coli | MoDa | DSP6 | BAL |  |  |  |  | MA | 2026-05-13 | 6 | 2026-11-13 | [7 empty] | Sartorius balancer |  |  | B
EC-HST-07 | EC-539 | E.Coli | MoDa | DSP6 | HST | AK |  |  |  | MT | 2026-02-17 | 12 | 2027-02-17 |  |  |  |  | 2393-06-10 |  |  | heidolph heater stirrer |  |  | T
EC-HST-08 | EC-539 | E.Coli | MoDa | DSP6 | HST | AK |  |  |  | MT | 2026-02-17 | 12 | 2027-02-17 | [7 empty] | heidolph heater stirrer |  |  | T
EC-CHI-01 | EC-539 | E.Coli | MoDa | DSP6 | CHI | ABL | 2025-11-19 | 12 | 2026-11-19 | MT | 2026-04-06 | 6 | 2026-10-06 | [7 empty] | Rotary Chiller |  |  | T
EC-ROT-03 | EC-539 | E.Coli | MoDa | DSP6 | ROT | AS | 2026-05-12 | 6 | 2026-11-12 | MT | 2026-04-06 | 12 | 2027-04-06 | MHD | 2024-04-08 | 2024-04-09 | 2024-04-09 | 2024-04-09 |  |  | Rotary |  |  | 2T-PT-RPM
EC-PPG-158 | EC-539 | E.Coli | MoDa | DSP6 | PPG |  |  |  |  | MT | 2026-01-21 | 12 | 2027-01-21 | [7 empty] | DMF P guage |  |  | P
EC-PPG-160 | EC-539 | E.Coli | MoDa | DSP6 | PPG |  |  |  |  | MT | 2026-01-21 | 12 | 2027-01-21 | [7 empty] | PIP P guage |  |  | P
EC-PPS-01 | EC-539 | E.Coli | MoDa | DSP6 | PPS | SH | 2026-04-09 | 12 | 2027-04-09 | MT | 2026-04-06 | 12 | 2027-04-06 | SS | 2024-04-09 | 2024-04-09 | 2026-04-09 | 2026-04-09 | 12 | 2027-04-09 | SPPS |  |  | P-T
EC-PPG-83 | EC-539 | E.Coli | MoDa | DSP6 | PPG |  |  |  |  | MT | 2026-02-17 | 12 | 2027-02-17 | [7 empty] | N2 SPPS
EC-PPG-82 | EC-539 | E.Coli | MoDa | DSP6 | PPG |  |  |  |  | MT | 2026-02-17 | 12 | 2027-02-17 | [7 empty] | CA mask
EC-MVS-03 | EC-539 | E.Coli | MoDa | DSP6 | MVS | AS | 2026-04-22 | 12 | 2027-04-22 | MT | 2026-02-17 | 12 | 2027-02-17 | MD | 2013-01-27 | 2013-01-27 | 2025-08-12 | 2025-08-12 | 12 | 2027-08-11 | 200L Waste |  |  | P
EC-PUM-35 | EC-516 | E.Coli | AlMo | USP2 | PUM | SH | 2025-12-13 | 6 | 2026-12-10 | [11 empty] | Pump | kavosh teb
WT-WFB-01 | WT-502 | E.Coli | LaAl | PSG/break tank(CNC) | WFB | ABL | 2026-03-17 | 12 | 2027-03-17 | MT | 2026-03-17 | 12 | 2027-03-17 | MHD | 2019-05-11 | 2019-06-02 | 2025-01-14 | 2025-01-14 |  |  | 2000L WFI Break Tank | AROKO | 2041.007
WT-PWB-01 | WT-502 | E.Coli | LaAl | PSG/break tank(CNC) | PWB | ABL | 2027-03-17 | 12 | 2027-03-17 | MSH | 2025-08-31 | 12 | 2027-03-17 | MHD | 2019-06-08 | 2019-06-08 | 2025-01-14 | 2025-01-14 |  |  | PW Break Vessel | AROKO | 2041.006
EC-TNK-03 | WT-502 | E.Coli | LaAl | PSG/break tank(CNC) | TNK | AS | 2024-11-26 | 12 | 2026-11-26 | [11 empty] | Tank
EC-CIP-02 | WT-502 | E.Coli | LaAl | PSG/break tank(CNC) | CIP | AS | 2026-04-29 | 6 | 2026-10-29 | OSH | 2025-06-08 | 12 | 2027-06-08 | MD | 2019-06-09 | 2019-06-10 | 2019-06-10 | 2019-06-10 |  |  | 700L CIP Station | AROKO | 2041.007
EC-CIP-03 | WT-502 | E.Coli | LaAl | PSG/break tank(CNC) | CIP | AS | 2026-04-29 | 6 | 2026-10-29 | OSH | 2026-06-08 | 12 | 2027-06-08 | MD | 2019-06-09 | 2019-06-11 | 2019-06-11 | 2019-06-11 |  |  | 250L CIP Station | AROKO | 2041.018
WT-PSG-02 | WT-502 | E.Coli | LaAl | PSG/break tank(CNC) | PSG | ABL | 2025-05-26 | 12 | 2027-05-26 | MT | 2026-05-11 | 12 | 2027-05-11 | MHD | 2019-06-09 | 2019-06-20 | 2025-01-14 | 2025-01-14 |  |  | Clean steam generator | Pharmalab
EC-BAL-02 | EC-520 | E.Coli | AbSa | Seed preparation | BAL |  |  |  |  | MK | 2026-03-08 | 6 | 2027-02-09 | [7 empty] | Balancer | Mettler Toledo | JL1502-G
EC-BSC-02 | EC-520 | E.Coli | AbSa | Seed preparation | BSC | ABL | 2025-11-18 | 12 | 2026-11-18 | OSH | 2025-06-02 | 12 | 2027-05-26 | SS | 2019-07-01 | 2019-07-01 | 2026-04-12 | 2026-04-12 | 6 | 2026-10-12 | Biosafety Cabinet | AROKO
EC-PUM-36 | EC-516 | E.Coli | AlMo | USP2 | PUM | SH | 2025-12-22 | 6 | 2026-12-18 | [11 empty] | Pump | mobile trolli
EC-SHI-01 | EC-520 | E.Coli | AbSa | Seed preparation | SHI | MK |  |  |  |  | 2025-12-08 | 6 | 2026-12-01 | [7 empty] | Incubator Shaker | New Brunswick | Innova 40
EC-SHI-03 | EC-520 | E.Coli | AbSa | Seed preparation | SHI | HN |  |  |  | MA | 2025-12-08 | 6 | 2026-12-01 | [7 empty] | Incubator Shaker | New Brunswick | Innova 40
EC-FPB-505 | EC-520 | E.Coli | AbSa | Seed preparation | FPB |  |  |  |  | JA | 2025-06-10 | 12 | 2027-05-31 | MD | 2019-06-11 | 2019-06-11 | 2025-08-18 | 2025-06-26 | 12 | 2027-06-26 | Fumigate passbox DPG
EC-OVN-02 | EC-521 | E.Coli | MaCh | Sterile Storage | OVN | ABL | 2025-11-19 | 12 | 2026-11-19 | OSH | 2026-01-08 | 6 | 2027-01-07 | BM | 2015-09-22 | 2015-09-22 | 2020-12-15 | 2020-12-15 |  |  | Oven | Memmert
EC-DHS-01 | EC-521 | E.Coli | MaCh | Sterile Storage | DHS | [8 empty] | MD | 2019-06-21 | 2019-06-27 | 2025-11-15 | 2025-11-15 | 24 | 2027-11-15 | Dry heat sterilization | Pharmalab
EC-AUT-04 | EC-521 | E.Coli | MaCh | Sterile Storage | AUT |  |  |  |  | OSH | 2025-06-01 | 12 | 2027-05-31 | MD | 2019-06-12 | 2019-06-18 | 2025-12-09 | 2025-12-09 | 12 | 2026-12-09 | Auoclave | Pharmalab
EC-FPB-501 | EC-521 | E.Coli | MaCh | Sterile Storage | FPB | [8 empty] | MD | 2019-06-11 | 2019-06-11 | 2025-06-28 | 2025-06-28 | 12 | 2027-06-29 | Fumigate passbox DPG
EC-PPT-03 | EC-518 | E.Coli | AbSa | USP1 | PPT | ABR | 2025-06-18 | 12 | 2027-06-17 | OSH | 2025-06-08 | 12 | 2027-06-06 | MD | 2019-05-18 | 2019-06-10 | 2025-07-08 | 2025-07-08 | 12 | 2027-07-08 | 300L Yeast vessel | AROKO
EC-MCR-05 | EC-518 | E.Coli | AbSa | USP1 | MCR | RA | 2025-06-09 | 12 | 2027-06-09 | JA | 2025-06-10 | 12 | 2027-05-31 | MD | 2019-05-27 | 2019-05-27 | 2019-05-27 | 2019-05-27 |  |  | mobile CIP pump
EC-FDT-03 | EC-518 | E.Coli | AbSa | USP1 | FDT | AS | 2026-01-13 | 6 | 2027-01-12 | MSH | 2025-06-11 | 12 | 2027-06-07 | MD | 2019-05-18 | 2019-06-17 | 2025-07-26 | 2025-07-26 | 12 | 2027-07-18 | 600L Feed vessel | AROKO
EC-FRM-05 | EC-518 | E.Coli | AbSa | USP1 | FRM | AS | 2026-04-26 | 6 | 2026-10-26 | MSH | 2025-06-11 | 12 | 2027-06-07 | MD | 2019-05-20 | 2019-06-10 | 2025-08-23 | 2025-08-23 | 12 | 2027-08-31 | 2000L Fermentor | AROKO
EC-PUM-37 | EC-319 | E.Coli | RaAz | CR4 Purification | PUM | ABL | 2025-11-30 | 6 | 2026-12-01 | [11 empty] | Pump | cellogen
EC-FRM-04 | EC-518 | E.Coli | AbSa | USP1 | FRM | AS | 2026-04-26 | 6 | 2026-10-26 | OSH | 2026-05-24 | 12 | 2027-05-24 | MD | 2019-05-14 | 2016-06-12 | 2025-08-27 | 2025-08-27 | 12 | 2027-09-08 | 200L Fermentor | AROKO |  |  | OQ wrong VA
EC-FRM-02 | EC-518 | E.Coli | AbSa | USP1 | FRM | AS | 2026-04-26 | 6 | 2026-10-26 | MT | 2026-02-01 | 12 | 2027-02-01 | MD | 2019-07-01 | 2019-07-01 | 2025-08-27 | 2025-08-27 | 12 | 2027-10-07 | 50L Fermentor | Biozeen
EC-FDT-02 | EC-518 | E.Coli | AbSa | USP1 | FDT | RA | 2025-06-08 | 12 | 2027-06-15 | OSH | 2026-05-24 | 12 | 2027-05-24 | MD | 2019-05-16 | 2019-06-10 | 2025-07-08 | 2025-07-08 | 12 | 2027-07-13 | 60L Feed vessel | AROKO
EC-PPT-02 | EC-518 | E.Coli | AbSa | USP1 | PPT | ABR | 2025-06-18 | 12 | 2027-06-11 | OSH | 2026-05-24 | 12 | 2027-05-24 | MD | 2019-05-16 | 2019-06-10 | 2025-07-09 | 2025-07-09 | 12 | 2027-07-09 | 30L Yeast vessel | AROKO
EC-SAM-19 | EC-518 | E.Coli | AbSa | USP1 | SAM |  |  |  |  | MA | 2026-05-09 | 6 | 2026-11-09 | [7 empty] | Sampler 10 - 100 | OniLab
EC-SAM-20 | EC-518 | E.Coli | AbSa | USP1 | SAM |  |  |  |  | OSH | 2026-02-11 | 6 | 2027-02-10 | [7 empty] | Sampler 100 - 1000 | OniLab
EC-PHM-12 | EC-518 | E.Coli | AbSa | USP1 | PHM | YA |  |  |  | MA | 2025-11-12 | 12 | 2026-11-12 | [7 empty] | pH meter | Metrohm | 913
EC-PHM-02 | EC-518 | E.Coli | AbSa | USP1 | PHM |  |  |  |  | OSH | 2025-11-15 | 12 | 2026-11-15 | [7 empty] | pH meter | Metrohm | 827
EC-UVS-01 | EC-518 | E.Coli | AbSa | USP1 | UVS | RA | 2025-05-25 | 12 | 2027-06-01 | MA | 2026-01-26 | 6 | 2027-01-26 | [7 empty] | Spectrophotometer | JENWAY | 6305
EC-MCR-04 | EC-518 | E.Coli | AbSa | USP1 | MCR | ABL | 2025-05-17 | 12 | 2027-05-17 | JA | 2025-06-10 | 12 | 2027-05-31 | MD | 2019-05-27 | 2019-05-27 | 2019-05-27 | 2019-05-27 |  |  | mobile CIP pump
EC-CNF-11 | EC-518 | E.Coli | AbSa | USP1 | CNF | AS |  | UM | UM | MSH | 2026-05-13 | 12 | 2027-05-13 | MHD | 2021-03-31 | 2021-03-31 | 2021-03-31 | 2021-03-31 |  |  | Disk stack Centrifuge |  |  |  | Under maintenance
EC-PUM-38 | EC-513 | E.Coli | NeMa | DSP1 | PUM | RA | 2025-07-21 | 12 | 2027-07-20 | [11 empty] | Pump | EC-TFF-04 pump Lobe
EC-FRZ-06 | EC-519 | E.Coli | AbSa | USP1 Freezer room | FRZ | MG | 2026-04-24 | 6 | 2026-10-24 | MA | 2025-12-08 | 6 | 2026-12-01 | SS | 2019-06-20 | 2019-06-20 | 2026-02-24 | 2026-02-24 | 24 | 2028-02-24 | Freezer -40 | jal tajhiz
EC-FRZ-05 | EC-519 | E.Coli | AbSa | USP1 Freezer room | FRZ | MG | 2026-04-24 | 6 | 2026-10-24 | MA | 2025-12-08 | 6 | 2026-12-01 | MD |  |  | 2025-08-24 | 2025-08-24 | 24 | 2027-08-24 | Freezer -40 -86 | 828L haier biomedical
EC-PRV-05 | EC-516 | E.Coli | AlMo | USP2 | PRV | SH | 2026-01-14 | 12 | 2027-01-14 | OSH | 2025-12-22 | 12 | 2026-12-22 | SS | 2024-01-13 | 2024-01-13 | 2026-05-03 | 2026-05-03 | 12 | 2027-05-03 | 2000L Fixed Vessel | AROKO
EC-PPG-73 | EC-516 | E.Coli | AlMo | USP2 | PPG |  |  |  |  | OSH | 2025-06-28 | 12 | 2027-06-17 | [7 empty] | CA mask
EC-PRV-04 | EC-516 | E.Coli | AlMo | USP2 | PRV | ABL | 2026-01-14 | 12 | 2027-07-12 | OSH | 2025-12-22 | 12 | 2026-12-22 | SS | 2024-01-14 | 2024-01-14 | 2026-05-03 | 2026-05-03 | 12 | 2027-05-03 | 1500L Fixed Vessel | Biozeen
EC-MCR-08 | EC-516 | E.Coli | AlMo | USP2 | MCR | AS | 2026-04-25 | 12 | 2027-04-25 | OSH | 2026-04-13 | 12 | 2027-04-13 | MHD | 2013-02-04 | 2013-02-04 |  |  |  |  | mobile CIP pump
EC-CNF-05 | EC-516 | E.Coli | AlMo | USP2 | CNF | AS |  |  |  | MT | 2026-01-05 | 6 | 2027-01-01 | [7 empty] | Centrifuge | Beckman |  |  | OOS
EC-PPG-75 | EC-516 | E.Coli | AlMo | USP2 | PPG |  |  |  |  | MT |  | 12 | 2027-06-09 | [7 empty] | P guage
EC-CLR-501 | EC-516 | E.Coli | AlMo | USP2 | CLR | MG | 2026-04-24 | 6 | 2026-10-24 | MA | 2026-03-04 | 6 | 2027-02-28 | SS | 2019-07-01 | 2020-02-15 | 2026-05-20 | 2026-05-20 | 24 | 2028-05-21 | Coldroom
EC-CNF-09 | EC-516 | E.Coli | AlMo | USP2 | CNF | SH | 2026-05-23 | 12 | 2027-05-23 | MA | 2025-12-08 | 6 | 2026-12-01 | MD | 2019-05-22 | 2019-05-22 |  |  |  |  | Tubular Centrifuge | Phedco
EC-CNF-10 | EC-516 | E.Coli | AlMo | USP2 | CNF | RA | 2025-08-16 | 12 | 2027-02-16 | MA | 2025-12-08 | 6 | 2026-12-01 | KR | 2020-10-07 | 2020-10-07 |  |  |  |  | Tubular Centrifuge | Phedco
EC-CNF-12 | EC-516 | E.Coli | AlMo | USP2 | CNF | AS | 2026-05-12 | 6 | 2026-11-12 | OSH | 2026-02-18 | 6 | 2027-02-09 | MHD | 2021-09-06 | 2021-09-06 |  |  |  |  | Tubular Centrifuge | Phedco
EC-PUM-39 | EC-508 | E.Coli | RaAz | DSP2 | PUM | SH |  | 12 | 2027-07-14 | [12 empty] | TFF pump
EC-PUM-41 | EC-530 | E.Coli | MoDa | DSP3 | PUM | SH | 2026-03-10 | 12 | 2027-03-10 | MA | 2026-01-26 | 12 | 2027-01-26 | [7 empty] | Pump | Quatroflow |  | P
EC-PUM-42 | EC-539 | E.Coli | MoDa | DSP6 | PUM | MK |  | 12 | 2027-09-27 | [11 empty] | Vaccum pump
EC-HMG-10 | EC-516 | E.Coli | AlMo | USP2 | HMG | AS | 2026-04-25 | 6 | 2026-11-05 | MA | 2025-11-23 | 12 | 2026-11-23 | [7 empty] | Ultra-turrax | motogen cinnagen
MF-PUM-08 | MF-503 | E.Coli | HuGo | Distillation | PUM | ABL | 2026-04-21 | 12 | 2027-04-21 | [11 empty] | Pump | Vacuubrand
MF-PUM-09 | MF-503 | E.Coli | HuGo | Distillation | PUM | ABL | 2025-11-10 | 12 | 2026-11-10 | [11 empty] | Pump | Vacuubrand
EC-BAL-05 | EC-516 | E.Coli | AlMo | USP2 | BAL | ABR |  |  |  | MA | 2026-03-04 | 6 | 2027-02-28 | [7 empty] | Balancer | Sartorius CPA 34001S
EC-HMG-09 | EC-516 | E.Coli | AlMo | USP2 | HMG | AS | 2026-08-13 |  | 2027-06-07 | OSH | 2025-07-08 | 12 | 2027-07-07 | MD | 2019-08-12 | 2019-08-12 |  |  |  |  | Homogenizer | GEA 3006 Ariete
EC-HMG-09 | EC-516 | E.Coli | AlMo | USP2 | HMG |  |  |  |  | SGK | 2025-10-16 | 24 | 2026-10-16 | [7 empty] | Homogenizer | GEA 3006 Ariete
EC-HMG-11 | EC-516 | E.Coli | AlMo | USP2 | HMG | AS | 2025-07-27 | 12 | 2027-07-26 | MA | 2026-01-26 | 12 | 2027-01-26 | BM | 2021-03-17 | 2021-03-17 |  |  |  |  | Homogenizer | GEA 3037 Ariete
EC-TOR-04 | EC-516 | E.Coli | AlMo | USP2 | TOR | [15 empty] | Turbidity meter | orion AQUAfast AQ4500
EC-TRM-03 | EC-516 | E.Coli | AlMo | USP2 | TRM |  |  |  |  | BEHSA |  | 24 | 2026-10-31 | [7 empty] | Torque meter | Hezburn
EC-BMC-01 | EC-516 | E.Coli | AlMo | USP2 | BMC | SH | 2026-07-20 | 12 | 2027-07-20 | [11 empty] | Biomass crusher | BMC-26
EC-HCL-04 | EC-523 | E.Coli | MaCh | Washing | HCL | AS | 2025-12-15 | 12 | 2026-12-15 | [11 empty] | Heat sealer | Hawo
EC-CIP-01 | EC-523 | E.Coli | MaCh | Washing | CIP | AS | 2025-06-02 | 12 | 2027-06-06 | MSH | 2025-06-10 | 12 | 2027-06-07 | MD | 2019-05-13 | 2019-06-24 | 2019-06-24 | 2019-06-24 |  |  | 100L CIP Station
EC-AUT-06 | EC-524 | E.Coli | MaCh | Washing | AUT | AS | 2026-01-19 | 12 | 2027-01-19 | MT | 2026-01-18 | 12 | 2027-01-18 | MD | 2016-12-12 | 2016-12-12 | 2025-07-29 | 2025-07-29 | 12 | 2027-08-08 | Autoclave | Pharmalab
EC-LAF-14 | EC-524 | E.Coli | MaCh | Washing | LAF | RA | 2025-06-07 | 12 | 2027-06-17 | MSH | 2026-04-12 | 12 | 2027-04-12 | SS | 2019-07-01 | 2019-07-01 | 2026-04-12 | 2026-04-12 | 6 | 2027-04-12 | Laminar airflow | PPG cleanroom
EC-AUT-04 | EC-524 | E.Coli | MaCh | Washing | AUT | ABR | 2025-06-01 | 12 | 2027-06-01 | OSH | 2025-06-01 | 12 | 2027-05-31 | MD | 2019-06-12 | 2019-06-18 | 2025-12-09 | 2025-12-09 | 12 | 0 | Autoclave | Pharmalab
EC-DHS-01 | EC-524 | E.Coli | MaCh | Washing | DHS | ABR | 2025-06-08 | 12 | 2027-06-10 | OSH | 2025-06-01 | 12 | 2027-06-01 | MD | 2019-06-21 | 2019-06-27 | 2025-11-15 | 2025-11-15 | 24 | 2027-11-15 | Dry heat sterilization | Pharmalab
EC-OVN-03 | EC-524 | E.Coli | MaCh | Washing | OVN | SH | 2026-03-01 | 12 | 2027-03-01 | OSH | 2026-01-08 | 6 | 2027-01-07 | MD | 2021-03-13 | 2021-03-13 | 2025-04-27 | 2025-04-27 | 24 | 2027-04-27 | oven | Memmert
EC-SIP-01 | EC-524 | E.Coli | MaCh | Washing | SIP | SH | 2026-02-07 | 6 | 2027-02-16 | OSH | 2025-06-01 | 12 | 2027-06-01 | BM | 2019-05-13 | 2019-06-22 | 2020-09-17 | 2020-09-17 |  |  | SIP | Simatic | HMI
EC-CRN-02 | EC-507 | E.Coli | MaCh | Washing | CRN | SH | 2025-11-10 | 12 | 2026-11-10 | [11 empty] | Crane | Cinnagen | SMP-AGH
EC-JVS-01 | EC-523 | E.Coli | MaCh | Washing | JVS | RA | 2025-04-26 | 12 | 2027-05-30 | MT | 2025-06-28 | 12 | 2027-06-02 | MD | 2019-06-01 | 2019-06-02 | 2025-07-09 | 2025-07-09 | 12 | 2026-07-09 | 100L Jacket vessel system | AROKO | 2041.035
EC-JVS-02 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-04-22 | 12 | 2027-04-22 | MSH | 2025-06-10 | 12 | 2027-06-07 | MD | 2019-06-04 | 2019-06-05 | 2025-07-10 | 2025-07-10 | 12 | 2027-07-08 | 100L Jacket vessel system | AROKO | 2041.037
EC-JVS-03 | EC-523 | E.Coli | MaCh | Washing | JVS | RA | 2025-05-10 | 12 | 2027-06-01 | MT | 2025-06-11 | 12 | 2027-06-02 | MD | 2019-06-17 | 2019-06-18 | 2025-07-13 | 2025-07-13 | 12 | 2027-07-08 | 100L Jacket vessel system | AROKO | 2041.042
EC-JVS-04 | EC-523 | E.Coli | MaCh | Washing | JVS
EC-JVS-05 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-04-19 | 12 | 2027-04-19 | JA | 2025-06-11 | 12 | 2027-05-31 | MD | 2019-06-16 | 2019-06-17 | 2025-07-08 | 2025-07-08 | 12 | 2026-07-08 | 100L Jacket vessel system | AROKO | 2041.04
EC-JVS-06 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-04-19 | 12 | 2027-04-19 | MT | 2025-06-10 | 12 | 2027-06-09 | SS | 2019-06-16 | 2019-06-17 | 2026-04-26 | 2026-04-26 | 12 | 2027-04-26 | 100L Jacket vessel system | AROKO | 2041.039
EC-JVS-07 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-04-27 | 12 | 2027-04-27 | MT | 2025-06-28 | 12 | 2027-06-07 | MD | 2019-06-03 | 2019-06-04 | 2025-07-13 | 2025-07-13 | 12 | 2027-07-12 | 100L Jacket vessel system | AROKO | 2041.036
EC-JVS-08 | EC-523 | E.Coli | MaCh | Washing | JVS | ABR | 2025-06-01 | 12 | 2027-06-01 | MT | 2025-06-30 | 12 | 2027-06-07 | SS | 2019-05-13 | 2019-05-14 | 2026-04-26 | 2026-04-26 | 12 | 2027-04-26 | 150L Jacket vessel system | AROKO | 2041.022
EC-JVS-09 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-04-27 | 12 | 2027-04-27 | MT | 2025-06-23 | 12 | 2027-06-23 | MD | 2019-05-23 | 2019-06-23 | 2025-07-07 | 2025-07-07 | 12 | 2026-07-07 | 150L Jacket vessel system | AROKO | 2041.023
EC-JVS-10 | EC-523 | E.Coli | MaCh | Washing | JVS
EC-JVS-11 | EC-523 | E.Coli | MaCh | Washing | JVS | RA | 2025-04-30 | 12 | 2027-05-30 | MT | 2025-06-23 | 12 | 2027-06-07 | SS | 2019-06-26 | 2019-06-27 | 2026-04-26 | 2026-04-26 | 12 | 2027-04-26 | 200L Jacket vessel system | AROKO | 2041.05
EC-JVS-12 | EC-523 | E.Coli | MaCh | Washing | JVS | SHE | 2025-05-26 | 12 | 2027-05-31 | OSH | 2025-06-22 | 12 | 2027-06-17 | MD | 2019-06-26 | 2019-06-27 | 2025-07-19 | 2025-07-19 | 12 | 2026-07-19 | 200L Jacket vessel system | AROKO | 2041.046
EC-JVS-13 | EC-523 | E.Coli | MaCh | Washing | JVS | SJ | 2025-05-26 | 12 | 2027-05-30 | MSH | 2025-06-10 | 12 | 2027-06-07 | MD | 2019-06-26 | 2019-06-27 | 2025-07-12 | 2025-07-12 | 12 | 2026-07-12 | 200L Jacket vessel system | AROKO | 2041.051
EC-JVS-14 | EC-523 | E.Coli | MaCh | Washing | JVS | RA | 2025-04-29 | 12 | 2027-05-30 | MT | 2025-06-23 | 12 | 2027-06-07 | MD | 2019-06-28 | 2019-06-29 | 2025-07-08 | 2025-07-08 | 12 | 2027-07-09 | 200L Jacket vessel system | AROKO | 2041.052
EC-JVS-15 | EC-523 | E.Coli | MaCh | Washing | JVS | RA | 2025-04-26 | 12 | 2027-05-31 | OSH | 2025-06-22 | 12 | 2027-06-17 | MD | 2019-06-26 | 2019-06-27 | 2025-07-12 | 2025-07-12 | 12 | 2026-07-12 | 200L Jacket vessel system | AROKO | 2041.048
EC-JVS-16 | EC-523 | E.Coli | MaCh | Washing | JVS | SHE | 2025-06-01 | 12 | 2027-06-01 | MT | 2025-06-23 | 12 | 2027-06-07 | MD | 2019-06-25 | 2019-06-26 | 2025-07-23 | 2025-07-23 | 12 | 2027-07-20 | 200L Jacket vessel system | AROKO | 2041.045
EC-JVS-17 | EC-523 | E.Coli | MaCh | Washing | JVS | SJ | 2025-05-26 | 12 | 2027-05-30 | OSH | 2025-06-28 | 12 | 2027-06-17 | MD | 2019-06-26 | 2019-06-26 | 2025-07-09 | 2025-07-09 | 12 | 2027-07-10 | 200L Jacket vessel system | AROKO | 2041.049
EC-JVS-18 | EC-523 | E.Coli | MaCh | Washing | JVS
EC-JVS-19 | EC-523 | E.Coli | MaCh | Washing | JVS
EC-JVS-20 | EC-523 | E.Coli | MaCh | Washing | JVS | ABR | 2025-06-01 | 12 | 2027-06-01 | MT | 2025-06-10 | 12 | 2027-06-02 | MD | 2019-06-09 | 2019-06-10 | 2025-08-11 | 2025-08-11 | 12 | 2026-08-11 | 100L Jacket vessel system | AROKO | 2041.038
EC-JVS-21 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-02-21 | 12 | 2027-02-21 | MT | 2025-06-24 | 12 | 2027-06-07 | MD | 2017-07-03 | 2017-07-03 | 2025-07-09 | 2025-07-09 | 12 | 2026-07-09 | 200L Jacket vessel system | AROKO | 2041.004
EC-JVS-22 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-05-20 | 12 | 2027-05-20 | MT | 2026-04-11 | 12 | 2027-04-11 | SS | 2021-04-17 | 2021-04-17 | 2026-04-26 | 2026-04-26 | 12 | 2027-04-26 | 200L Jacket vessel system | sanatgaran | 99-JMV200-02
EC-JVS-23 | EC-523 | E.Coli | MaCh | Washing | JVS | SJ | 2025-05-26 | 12 | 2027-05-31 | MT | 2026-04-11 | 12 | 2027-04-11 | SS | 2021-04-17 | 2021-04-26 | 2026-05-02 | 2026-05-02 | 12 | 2027-05-02 | 200L Jacket vessel system | sanatgaran | 99-JMV200-01
EC-JVS-24 | EC-523 | E.Coli | MaCh | Washing | JVS | RA | 2025-04-23 | 12 | 2027-05-31 | MT | 2026-05-09 | 12 | 2027-05-09 | MD | 2021-04-17 | 2021-04-27 | 2025-07-09 | 2025-07-09 | 12 | 2026-07-09 | 200L Jacket vessel system | sanatgaran | 99-JMV200-03
EC-JVS-25 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-05-09 | 12 | 2027-05-09 | MSH | 2026-03-03 | 12 | 2027-03-03 | MD | 2021-04-17 | 2021-04-29 | 2025-07-13 | 2025-07-13 | 12 | 2027-07-13 | 200L Jacket vessel system | sanatgaran | 99-JMV200-04
EC-JVS-26 | EC-523 | E.Coli | MaCh | Washing | JVS | SJ | 2025-05-26 | 12 | 2027-05-30 | MSH | 2026-03-03 | 12 | 2027-03-03 | MD | 2021-04-17 | 2021-04-29 | 2025-07-21 | 2025-07-21 | 12 | 2026-07-21 | 200L Jacket vessel system | sanatgaran | 99-JMV200-05
EC-JVS-27 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-04-20 | 12 | 2027-04-20 | MSH | 2026-03-03 | 12 | 2027-03-03 | MD | 2021-04-17 | 2021-04-27 | 2025-07-08 | 2025-07-08 | 12 | 2026-07-08 | 200L Jacket vessel system | sanatgaran | 99-JMV200-06
EC-JVS-28 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-01-15 | 12 | 2027-01-15 | MT | 2026-01-26 | 12 | 2027-01-26 |  | 2024-03-02 | 2024-03-02 | 2026-04-30 | 2026-04-30 | 12 | 2027-04-30 | 200L Jacket vessel system | Sinarad | 6023.001 |  | 2024-03-02
EC-JVS-29 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-01-16 | 12 | 2027-01-16 | MT | 2026-01-18 | 12 | 2027-01-18 | SS | 2024-01-31 | 2024-01-31 | 2026-04-28 | 2026-04-28 | 12 | 2027-04-28 | 200L Jacket vessel system | Sinarad | 6023.002
EC-JVS-30 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2026-03-10 | 12 | 2027-03-10 | MT | 2026-02-23 | 12 | 2027-02-23 | MHD | 2025-03-03 | 2025-03-03 | 2025-03-03 | 2025-03-03 | 12 | 2026-10-05 | 200L Jacket vessel system | AROKO | 2130.001
EC-JVS-31 | EC-523 | E.Coli | MaCh | Washing | JVS | AS | 2025-07-03 | 12 | 2027-07-07 | MT | 2026-04-21 | 12 | 2027-04-21 | MD | 2015-06-20 | 2015-06-20 | 2025-08-17 | 2025-08-17 | 12 | 2026-08-17 | 75L Jacket vessel system | Pharmatech | 2010279
EC-JVS-32 | EC-523 | E.Coli | MaCh | Washing | JVS | AS | 2025-07-03 | 12 | 2027-07-07 | MT | 2026-04-21 | 12 | 2027-04-21 | MD | 2015-06-20 | 2015-06-20 | 2025-08-17 | 2025-08-17 | 12 | 2026-08-17 | 75L Jacket vessel system | Pharmatech | 2010280
EC-JVS-33 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2025-12-07 | 12 | 2026-12-07 | MT | 2026-04-11 | 12 | 2027-04-11 | MD | 2021-05-05 | 2021-05-08 | 2025-11-04 | 2025-06-29 | 12 | 2026-06-29 | 200L Jacket vessel system | sanatgaran | 99-JMV200-08
EC-JVS-34 | EC-523 | E.Coli | MaCh | Washing | JVS | SH | 2025-12-07 | 12 | 2026-12-07 | MT | 2026-04-11 | 12 | 2027-04-11 | MD | 2021-05-05 | 2021-05-08 | 2025-11-04 | 2025-06-28 | 12 | 2026-06-28 | 200L Jacket vessel system | sanatgaran | 99-JMV200-09
EC-MVS-02 | EC-523 | E.Coli | MaCh | Washing | MVS | SH | 2025-11-10 | 12 | 2026-11-10 |  |  | 12 | 2027-07-07 | SS | 2013-07-27 | 2013-07-27 | 2026-01-08 | 2026-01-08 | 12 | 2027-01-08 | 100L Mobile vessel system | Biozeen | 8034.276 |  | no CA
EC-MVS-04 | EC-523 | E.Coli | MaCh | Washing | MVS | AS | 2025-07-18 | 12 | 2027-07-20 | OSH | 2025-06-22 | 12 | 2027-06-17 | MD | 2022-04-28 | 2022-04-28 | 2025-07-30 | 2025-07-30 | 12 | 2027-07-20 | 100L Mobile vessel system | AROKO | 2092.001
RD-MIX-01 |  | E.Coli |  |  | MIX
EC-OVN-04 |  | R&D | Mostafa Chizari | Chemistry | OVN | ABD |  | 12 | 2027-04-08 | MT |  | 12 | 2027-09-30 | MHD | 08.04.24 | 09.04.24 |  |  |  |  | Vaccum oven